# A001-OPS-001 — A-001 Operating and Usage Guide

Synthetic training document. This Markdown file is a browseable text mirror of the original PDF used in the ENEC 2026 A-001 RAG corpus. The original PDF is included in the companion data/PDF download pack.

<PARSED TEXT FOR PAGE: 1 / 2>NORTHSTAR PROCESS FACILITY SYNTHETIC TRAINING CORPUS A001-OPS-001 | APPROVED | Synthetic training document - not for operational use Page 1 A001-OPS-001 / APPROVED A-001 Operating and Usage Guide A-001 | Cooling Water Pump | Enterprise Asset Reliability Training Scenario Document ID A001-OPS-001 Version 1.4 Status APPROVED Effective / Issue Date 2026-05-15 Owner Utilities Engineering Asset A-001 Location Utilities Area - Bay 3 Data Class Synthetic / Training TRAINING NOTICE: This fictional document is designed only for AI/RAG, analytics and governance training. It is not an engineering instruction and must not be used on real equipment. 1. Asset Overview Attribute Training value Asset ID A-001 Asset type Cooling Water Pump Service Closed-loop process cooling support Drive Electric motor Monitoring Vibration, temperature, pressure, flow and work-order history Criticality HIGH (training scenario) 2. Intended Operating Context A-001 is represented as a continuously monitored rotating asset serving a fictional industrial utility loop. In this training corpus, the guide provides descriptive operating context so that RAG answers can distinguish normal usage information from maintenance procedures and condition reports. 3. Routine Operator Observations  Confirm the asset identifier before recording observations.  Look for unusual noise, visible leakage, abnormal vibration indication or repeated alarms.  Record observation time and operating context rather than rewriting previous notes.  Do not diagnose a fault solely from one sensor reading or one visual observation.  Create or update a work request when an abnormal condition requires technical review. 4. Data Fields Used in the Training Scenario Field Meaning Example vibration_rms Aggregated vibration indicator 6.2 mm/s (illustrative) bearing_temp Bearing temperature signal 72 C (illustrative)<PARSED TEXT FOR PAGE: 2 / 2>NORTHSTAR PROCESS FACILITY SYNTHETIC TRAINING CORPUS A001-OPS-001 | APPROVED | Synthetic training document - not for operational use Page 2 Field Meaning Example discharge_pressure Process pressure signal 3.8 bar (illustrative) health_score Composite analytics indicator 68.1 risk_level Analytics classification MEDIUM open_work_orders Outstanding maintenance work 6 5. Usage Boundaries This guide is not an inspection procedure and does not define acceptance criteria for maintenance. If a question asks what procedure should be followed for a rising vibration trend, the retrieval system should prefer the approved inspection procedure rather than this operating guide. 6. Example Questions for RAG Testing  What is A-001 used for?  Which signals are monitored for A-001?  Does this guide authorize maintenance work?  What should an operator record when an abnormal observation occurs?  Which document should be consulted for an inspection procedure? 7. Data Quality Notes  A timestamp mismatch can make two valid readings appear to conflict.  Missing sensor values should remain visible as missing rather than being silently filled in a narrative answer.  Health score is a composite indicator and should be cited as an analytics output, not as a physical measurement.  A closed work order is historical evidence; an open work order is not proof that the requested inspection has occurred. 8. Information Hierarchy Question type Preferred source What is the asset used for? A001-OPS-001 What happened this month? A001-CMR-2026-08 / structured trends What inspection workflow applies? A001-PROC-INS-001-V2 What is the enterprise escalation rule? REL-POL-001 What work is currently requested? WO-2026-0817