# A001-PROC-INS-001 V1 — Superseded Inspection Procedure

Synthetic training document. This Markdown file is a browseable text mirror of the original PDF used in the ENEC 2026 A-001 RAG corpus. The original PDF is included in the companion data/PDF download pack.

<PARSED TEXT FOR PAGE: 1 / 1>NORTHSTAR PROCESS FACILITY SYNTHETIC TRAINING CORPUS A001-PROC-INS-001-V1 | SUPERSEDED | Synthetic training document - not for operational use Page 1 A001-PROC-INS-001-V1 / SUPERSEDED A-001 Condition Inspection Procedure - Historical Version A-001 | Cooling Water Pump | Enterprise Asset Reliability Training Scenario Document ID A001-PROC-INS-001-V1 Version 1.0 Status SUPERSEDED Effective / Issue Date 2025-03-01 Owner Maintenance Engineering Asset A-001 Location Utilities Area - Bay 3 Data Class Synthetic / Training TRAINING NOTICE: This fictional document is designed only for AI/RAG, analytics and governance training. It is not an engineering instruction and must not be used on real equipment. 1. Status This document is retained only for historical comparison. It was superseded by version 2.0. A retrieval system may find this document highly similar to current questions because terminology is almost identical; authority filtering is therefore required. 2. Historical Inspection Sequence 1. Confirm asset tag and review the latest operator note. 2. Review the most recent vibration and temperature readings. 3. Inspect for visible leakage, looseness and abnormal noise indicators. 4. Review open maintenance work and previous inspection findings. 5. Record a short condition summary and send it to the maintenance supervisor. 3. Historical Review Note Version 1.0 did not explicitly require trend comparison, document-version verification, or evidence-gap recording. These controls were added in version 2.0 after internal lessons learned. 4. Training Trap For the question “What procedure should be used to review the rising vibration trend for A-001?”, this document may rank well lexically. A governed RAG system should identify it as SUPERSEDED and retrieve the current approved version instead.