# CR-2026-0819-A001 — Field Condition Report

Synthetic training document. This Markdown file is a browseable text mirror of the original PDF used in the ENEC 2026 A-001 RAG corpus. The original PDF is included in the companion data/PDF download pack.

<PARSED TEXT FOR PAGE: 1 / 2>NORTHSTAR PROCESS FACILITY SYNTHETIC TRAINING CORPUS CR-2026-0819-A001 | APPROVED | Synthetic training document - not for operational use Page 1 CR-2026-0819-A001 / APPROVED Field Condition Report - A-001 Observation A-001 | Cooling Water Pump | Enterprise Asset Reliability Training Scenario Document ID CR-2026-0819-A001 Version 1.0 Status APPROVED Effective / Issue Date 2026-08-19 Owner Operations Support Asset A-001 Location Utilities Area - Bay 3 Data Class Synthetic / Training TRAINING NOTICE: This fictional document is designed only for AI/RAG, analytics and governance training. It is not an engineering instruction and must not be used on real equipment. 1. Observation During a routine area walk-through, the observer recorded “intermittent rattling sound near A-001” and a small wet area near the baseplate. The observation was made while the asset was in normal service in the synthetic scenario. 2. Immediate Record Item Recorded value Time 2026-08-19 10:40 Observer role Operations Technician Asset tag confirmed Yes - A-001 Visible leakage Small wet area observed; source not confirmed Abnormal noise Intermittent rattling reported Local vibration reading Not independently measured in this report 3. Evidence Limits  The wet area does not establish the leakage source.  The noise description is subjective and should be correlated with instrumented data.  This report does not provide a root-cause diagnosis.  The observation should be considered alongside sensor trends, work history and the current inspection procedure.<PARSED TEXT FOR PAGE: 2 / 2>NORTHSTAR PROCESS FACILITY SYNTHETIC TRAINING CORPUS CR-2026-0819-A001 | APPROVED | Synthetic training document - not for operational use Page 2 4. Follow-up The observer requested maintenance review. Later trend analysis showed increasing vibration, and WO-2026-0817 was created. The field report is useful corroborating evidence but should not outrank the approved procedure when the question asks what inspection workflow applies. 5. Corroboration Matrix Observation Possible corroborating source Current state Intermittent rattling Sensor trend / later inspection Not confirmed by this record alone Small wet area Follow-up inspection / work order Source not confirmed Asset in service Operator record Recorded in this report 6. Record Integrity  The original wording of the observer note should be preserved during PDF-to-Markdown conversion.  Asset ID, timestamp and observer role should remain metadata attached to extracted chunks.  A generated summary should never replace the source observation in the evidence store.  Later evidence may contextualize this report but should not rewrite what was observed at 10:40 on 2026-08-19. 7. Retrieval Note This report is highly relevant to questions about what was observed in the field. It is not the authoritative source for the formal inspection procedure, enterprise escalation policy or work-order completion status.