# SEC-STD-DETECT-001 - Detection Rule Catalogue and Tuning Rules (APPROVED)

Synthetic training document. Not for operational use.

Document ID: SEC-STD-DETECT-001 | Version 1.0 | Status: APPROVED | Effective: 2025-12-01 | Owner: Technical Security Services

## 1. Rule catalogue

| Rule | Name | Condition | Severity |
| --- | --- | --- | --- |
| R-AUTH-01 | Repeated failed logins from one source | 8 or more failures from one source address within 30 minutes | Medium; High at 25 or more |
| R-AUTH-02 | Remote login without MFA | Successful login from the DMZ or outside without MFA | Medium; High if off hours |
| R-NET-01 | Port scan from unapproved source | 10 or more distinct destination ports from one unapproved source in 15 minutes | Medium |
| R-NET-02 | Connection flood from many sources | 40 or more flows from 15 or more sources in 15 minutes | High |
| R-NET-03 | Large outbound transfer to external address | More than 30 MB to an external address | High |
| R-OT-01 | Controller change without ticket or outside window | A state-changing command with no ticket, or outside the approved change window | High |

## 2. Alert handling

- Every alert is triaged by an analyst and given a status: Open, Triaged, Escalated or Closed - false positive.

- Closing an alert as a false positive requires a recorded reason. An alert closed without a reason is reopened at the next review.

- An escalated alert is linked to an incident.

## 3. Tuning

- A threshold change needs a recorded comparison of alerts, missed events and false alarms before and after.

- Approved scans and backups are excluded by named source address, not by lowering severity.

- Tuning is approved by the Technical Security Services Lead. A model or a script proposes; a person approves.